| NAME: | DATE OF EVALUATION: |
| --- | --- |
| ADDRESS: | DATE OF BIRTH: |
| TELEPHONE: | AGE: |
| REFERRED BY: | MEDICAL DIAGNOSIS: |
| LICENSED SLP: | SLP DIAGNOSIS: |
| DATE OF REPORT: | DATE OF ONSET: |

SPEECH-LANGUAGE PATHOLOGY EVALUATION FOR SPEECH GENERATING DEVICE (SGD)

II. CURRENT COMMUNICATION IMPAIRMENT

Impairment Type, Severity

The patient presents with   due to      .

Given the severity of the communication impairment as described above the patient is functionally nonspeaking.

As indicated above, the patient’s speaking rate was       words per minute (WPM). Research on speaking rate and intelligibility in degenerative diseases has found speaking rates less than or equal to 50% of normal (range 190 – 220 WPM) are predictive of imminent precipitous decline (e.g., to the point of no usable speech in less than 3 months) in speech intelligibility.

Anticipated Course of Impairment

The patient’s condition is  in nature and  is expected to . Therefore it is anticipated that the patient’s natural speech will not be sufficient to meet daily communication needs for

Comprehensive Assessment

Hearing Status

The patient has  of hearing impairment. The patient’s  has  of hearing impairment. Informal observation of functional listening performance during the SGD assessment revealed the patient and/or caregiver required the following modifications regarding auditory output to use a SGD effectively.

| Modification | Patient | Caregiver |
| --- | --- | --- |
| No modifications |  |  |
| Headphones |  |  |
| Use of dual visual display to read messages |  |  |
| Specific speech output options. |  |  |

With modifications as listed above, the patient demonstrates adequate hearing ability to use a SGD to communicate functionally.

Visual Status

The patient has a history of . The patient’s  has a history of . Informal observation of functional visual performance during the SGD assessment revealed the patient and/or caregiver required the following modifications to use a SGD effectively given current vision status.

| Modification | Patient | Caregiver |
| --- | --- | --- |
| No modifications |  |  |
| Font size used on SGD display and/or symbol labels (“gloss”) should be: |  |  |
| Picture-symbols and/or icons should be the following size: |  |  |
| A flat display is required to reduce visual tracking requirements (e.g., need to alternate focus between keyboard and display to monitor selections) |  |  |
| Color contrasts are needed to enhance text or symbol discrimination such as: |  |  |
| Number of items per display should be: |  |  |
| Auditory feedback from device is needed to assist in message preparation/selection. |  |  |

With modifications as listed above, the patient demonstrates the visual abilities to use a SGD to communicate functionally.

Physical Status

The patient was able to successfully access SGDs presented at the evaluation with the following selection technique/modifications.

| Check | Selection Technique | Type | Additional Information |
| --- | --- | --- | --- |
|  | Manual direct selection |  |  |
|  | Optical Direct Selection |  |  |
|  | High Tech Eye Gaze Direct Selection |  |  |
|  | Scanning | , |  |
|  | Morse Code |  |  |
|  | Requires access modifications over time due to degenerative condition |  |  |

The patient uses  for mobility. Therefore, a wheelchair mounting system  to transport the patient’s SGD.

With the above modifications/considerations, the patient possesses the physical abilities to effectively use a SGD and required accessories to communicate.

Language Skills

The patient presents with  impairment in language functioning as it relates to using an appropriate SGD. Based on patient report and observation of the patient’s language and literacy skills during the evaluation, the patient possesses the following skills/abilities.

| Skill/Ability | Mastery |
| --- | --- |
| Follows simple instructions (e.g., “Look at me.” “Turn your head.” “Open your mouth.”) |  |
| Follows complex instructions |  |
| Follows general conversation |  |
| Reads/comprehends common words |  |
| Reads/comprehends simple sentences |  |
| Reads comprehends short paragraphs |  |
| Reads the newspaper |  |
| Spells common words |  |
| Generates basic messages using writing/spelling skills |  |
| Generates complex messages using writing/spelling skills |  |
| Generates basic messages by using pictographic symbols |  |
| Generates complex messages using pictographic symbols |  |
| Generates messages using generative symbols (e.g., MinSpeak™) |  |

Given the patient’s language/literacy functioning, a SGD that provides message production using  will be required. Following  instruction, the patient demonstrated the linguistic capacity to generate  messages on an SGD with.

The patient’s linguistic performance with the SGDs presented during the evaluation indicated the necessary language skills to functionally communicate using a SGD.

Cognitive Skills

The patient presents with  impairment in cognitive functioning as it relates to ability to use an appropriate SGD.       The patient’s attention, memory and problem solving skills observed during the evaluation appeared functional to learn to use a SGD successfully. For example, during the  assessment/training trials, the patient demonstrated independence or progress in mastering the following SGD features.

| Feature | Mastery |
| --- | --- |
| Turns SGD on and off |  |
| Navigates within and between display pages on a dynamic display SGD |  |
| Uses dictionary features to locate vocabulary not available on pre-programmed displays |  |
| Uses word-prediction |  |
| Retrieves messages stored under letter codes or symbol codes |  |
| Stores messages under letter codes |  |
| Stores messages under picture symbols |  |
| Learns icon-code sequences to retrieve words on SGD (e.g., Unity™ Core) |  |
| Navigates within SGD “Menu” options to modify device options (e.g., voice, scan rate, feedback). |  |

The patient demonstrates the necessary cognitive abilities (i.e., attention, memory, and problem-solving) skills to learn to use a SGD to achieve functional communication goals.

III. DAILY COMMUNICATION NEEDS

Specific Daily Functional Communication Needs

The results of a communication needs interview conducted with the patient, relevant family members and caregivers revealed the following communication needs.

| Communicative Activity. Communication to: | Communication Partner(s) | Communicative Environment(s) | Is Need Met with Natural Speech and/or Low Tech? |
| --- | --- | --- | --- |
| Express basic physical needs/wants. | spouse immediate family extended family friends healthcare provider non-reader hearing impaired visually impaired stranger | home medical facility community support group work/school telephone | yes no NA |
| Express needs/wants in emergences. | spouse immediate family extended family friends healthcare provider non-reader hearing impaired visually impaired stranger | home medical facility community support group work/school telephone | yes no NA |
| Express detailed physical needs/wants. | spouse immediate family extended family friends healthcare provider non-reader hearing impaired visually impaired stranger | home medical facility community support group work/school telephone | yes no NA |
| Participate in decision-making (e.g., discuss choices for end-of-life care). | spouse immediate family extended family friends healthcare provider non-reader hearing impaired visually impaired stranger | home medical facility community support group work/school telephone | yes no NA |
| Participate in conversation. | spouse immediate family extended family friends healthcare provider non-reader hearing impaired visually impaired stranger | home medical facility community support group work/school telephone | yes no NA |
| Tell personal stories and anecdotes. | spouse immediate family extended family friends healthcare provider non-reader hearing impaired visually impaired stranger | home medical facility community support group work/school telephone | yes no NA |
| Report medical status and complaints. | spouse immediate family extended family friends healthcare provider non-reader hearing impaired visually impaired stranger | home medical facility community support group work/school telephone | yes no NA |
| Ask questions. | spouse immediate family extended family friends healthcare provider non-reader hearing impaired visually impaired stranger | home medical facility community support group work/school telephone | yes no NA |
| Give responses. | spouse immediate family extended family friends healthcare provider non-reader hearing impaired visually impaired stranger | home medical facility community support group work/school telephone | yes no NA |
|  | spouse immediate family extended family friends healthcare provider non-reader hearing impaired visually impaired stranger | home medical facility community support group work/school telephone | yes no NA |
|  | spouse immediate family extended family friends healthcare provider non-reader hearing impaired visually impaired stranger | home medical facility community support group work/school telephone | yes no NA |

Ability to Meet Communication Needs With Non-SGD Treatment Approaches

Speech therapy to improve/increase functional speech is not a viable option to meet the patient’s communication needs because:

The patient’s has a degenerative condition for which speech/language therapy is not effective.

The patient received speech/language treatment for       with no significant changes in speech/language functioning.

The patient’s speech/language functioning has been static for       and no improvement is expected.

The results of the communication needs assessment as documented in the previous section indicate the majority of patient’s daily functional communication needs cannot be met with natural speech and/or low tech communication devices. Therefore the patient requires a SGD to achieve and/or maintain functional communication ability in activities of daily living.

IV. FUNCTIONAL COMMUNICATION GOALS

The patient’s immediate, short term and long term goals and estimated times to completion following receipt of the recommended SGD are listed below.

| Functional Communication Goals Patient will use SGD independently to: | Immediate | Short Term | Long Term |
| --- | --- | --- | --- |
| Call for help from a spouse/caregiver in another room in emergency. |  |  |  |
| Contact a family member, friend or public agency for help on the telephone in emergency. |  |  |  |
| Communicate physical needs and emotional status to spouse/caregiver on a daily basis, as needed. |  |  |  |
| Describe physical symptoms and ask any questions when interacting with physician and other health care professionals as needed. |  |  |  |
| Engage in social communication exchanges with immediate family members in person. |  |  |  |
| Engage in social communication exchanges with extended family members and friends by use of the telephone. |  |  |  |
| Engage in social communication exchanges with friends at their homes and in other community settings. |  |  |  |
| Use the telephone to make contact friends and extended family to interact socially. |  |  |  |
| Ask questions and provide responses in community-based transactions (e.g., ordering a meal in a restaurant, asking directions, etc.) |  |  |  |
| Instruct caregivers on the care requirements (e.g., transfers, bathing, moving from wheelchair to the car.) |  |  |  |
| Participate in family planning decisions (e.g., household management, finances, childrearing, etc.) |  |  |  |
| Participate in support groups. |  |  |  |

V. RATIONALE FOR DEVICE SELECTION

This individual requires a speech generating device with the following features to meet functional communication goals as stated in the previous section of this report.

Input Features/ Selection Technique

| Check | Selection Technique | Type | Rationale |
| --- | --- | --- | --- |
|  | Manual direct selection |  |  |
|  | Optical Direct Selection |  |  |
|  | High Tech Eye Gaze Direct Selection |  |  |
|  | Scanning | , |  |
|  | Morse Code |  |  |
|  | Provides multiple access technique options to accommodate changing physical condition |  |  |
|  | Keyboard |  |  |
|  | Dynamic display |  |  |

Message Characteristics/Features

| Check | Characteristic or Feature | Rationale |
| --- | --- | --- |
|  | Message generation using spelling |  |
|  | Message generation using a combination of pre-programmed whole words and spelling |  |
|  | Message generation using pictographic symbols (e.g., PCS, Dynasyms, custom symbols) |  |
|  | Message generation using multi-meaning icon coding (e.g., MinSpeak™) |  |
|  | Message selection using photographs and/or tangible symbols |  |
|  | Ability to adjust font/symbol size to accommodate visual needs |  |
|  | Flat display to reduce visual tracking requirements |  |
|  | Ability to adjust color and contrasts to accommodate visual or cognitive needs |  |
|  | Ability to adjust number of items per display to accommodate visual, physical and/or cognitive needs |  |
|  | Ability to store/edit/retrieve whole messages under word/symbol buttons |  |
|  | Ability to store/edit/retrieve narrative messages (e.g., stories, reports, speeches) from message files |  |
|  | Provides word/symbol prediction rate acceleration techniques |  |
|  | Provides abbreviation expansion (letter coding) rate acceleration techniques |  |

Output Features

| Check | Feature or Option | Specifications if Applicable | Rationale |
| --- | --- | --- | --- |
|  | Synthesized speech |  | Essential for: message generation using spelling telephone non-reading partners visually impaired partners |
|  | Digitized speech |  | Essential for: telephone non-reading partners visually impaired partners |
|  | User display size |  |  |
|  | Dual display (user/listener) |  | Essential for: hearing impaired partners noisy environments |
|  | Auditory feedback from device to assist in message preparation/selection |  |  |

Other Features

| Check | Feature or Option | Specifications if applicable | Rationale |
| --- | --- | --- | --- |
|  | Wheelchair mounting System |  |  |
|  | Small/lightweight for carrying by user |  |  |
|  | Length of use after battery charged |  |  |
|  | Display viewable in direct sunlight |  |  |

Recommended Speech Generating Device Code

Based on the patient’s communication needs and considering the patient’s visual, hearing, physical, language and cognitive status as well as specified features as described in this report, SGDs in the  Medicare/CPT code category were evaluated to determine the most appropriate SGD to meet the patient’s functional communication goals.

Equipment and Procedures Used in Assessment

Speech Generating Devices and Accessories Evaluated

The following SGDs and accessories were presented for evaluation.

Procedures Used in SGD Trials

To assess the patient’s ability to use the selected SGDs the following procedures were used.

Outcome of SGD Trials

For the following reasons the       was selected as the most appropriate SGD for the patient.       The other SGDs evaluated were ruled out for the following reasons.

Speech Generating Device and Accessories Recommended

The individual's ability to achieve functional communication goals requires the acquisition and use of the SGD, mounting/carrying devices and accessories listed below. This SGD represents the clinically most appropriate device for (     ).

| SGD, Mounting System, or Accessory | Medicare/CPT Code | Manufacturer/Vendor |
| --- | --- | --- |

Important: Contact family for specifications regarding tubing size for wheelchair mounting system.

Patient/Family Support of Speech Generating Device

The patient’s  was present at the evaluation. The  was supportive of the patient using the SGD and agreed to the necessity of the SGD for meeting the patient’s communicative needs in activities of daily living.

Physician Involvement Statement

This report was forwarded to the treating physician       on      .  The physician was asked to write a prescription for the recommended SGD and accessories.

VI. TREATMENT PLAN

Following receipt of the recommended SGD and accessories, it is recommended the patient receive       of treatment sessions addressing the acquisition of the functional communication goals described in part IV of this report. The patient’s family and/or primary caregivers are encouraged to participate in the treatment sessions so they may learn to assist the patient in the use of the SGD as needed. The patient’s treatment goals would best be met in  setting. Following discharge from treatment, the patient will be reevaluated as needed (at the request of the patient, physician, or family) to determine the need for updates/modifications of the SGD.

VII. SLP ASSURANCE OF FINANCIAL INDEPENDENCE AND SIGNATURE

The Speech-Language Pathologist performing this evaluation is not an employee of and does not have a financial relationship with the supplier of any SGD.

| Evaluating SLP name: |  |
| --- | --- |
| ASHA Certification #: |  |
| State License #: |  |